Nitrate Forecasting Project – Summary of 2/18/2026 Meeting

Tag List

IowaRiver_IowaCity_NitrateLevel – Hydro Info Lab sensors upstream of the water plant (data since 2012).

WP_WC_Nitrate_River – Results of the water plant raw river nitrate test (every 4 hours).

IowaRiver_IowaCity_Flow – River flow at Burlington Dam.

IowaRiver_IowaCity_GaugeHeight – River height (ft) at Burlington Dam.

IowaRiver_BelowCoralvilleDam_Flow

IowaRiver_BelowCoralvilleDam_GaugeHeight

CoralvilleReservoir_USACE_Outflow_Forecast

CoralvilleReservoir_USACE_Level_Forecast

CoralvilleReservoir_USACE_Level

CoralvilleReservoir_USACE_Outflow

CoralvilleReservoir_USACE_Inflow_Davg

Weather Station Data

- West Chiller Plant Weather Station – Air temp functional; other sensors questionable.

Air Temp: \piserver.facilities.uiowa.edu\WCP_00_TT_091 (°F)

Relative Humidity: \piserver.facilities.uiowa.edu\WCP_00_MT_091 (%)

Precipitation: \piserver.facilities.uiowa.edu\WCP_00_LS_091 (in)

- Iowa City Municipal Airport (since 2025):

Air Temp: \piserver.facilities.uiowa.edu\IowaCityAirport_Weather_Temperature (°C)

Humidity: \piserver.facilities.uiowa.edu\IowaCityAirport_Weather_RelativeHumidity (%)

Precipitation: \piserver.facilities.uiowa.edu\IowaCityAirport_Weather_Precipitation_Dtot (mm)

Outside Sources of Data

Synoptic – free academic weather data.

- Synoptic Data | Home

Iowa Water Quality Information System (IWQIS).

- Iowa Water Quality Information System | IWQIS

- Coralville Reservoir:

- Rivergages.com - Station Information ForCoralville Lake Reservoir

- I-Canopy System – Professor Jun Wang of the College of has tools available that may be useful for this project. There is soil moisture, soil temp, humidity, temp, downloadable data.

- Real-time Earth System Modeling Complex

Tools

PI System Explorer – Installer: Pi-AF-Client_2024 (on shared drive).

Installable tool with windows machine. Installer can be found on Iowa Shared Drive listed below.

\\iowa.uiowa.edu\shared\fm\Campus\PI

Installer: Pi-AF-Client_2024

*Download Pi-AF-Client_2024

You will be asked to questions:

PI Server: piserver.facilities.uiowa.edu

PI AF Server: pi-af.facilities.uiowa.edu

PI DataLink – Excel add-in (installer: AVEVA-Pi-DataLink_2023_SP1).

- Installable tool with windows machine. Installer can be found on Iowa Shared Drive listed below.

- \\iowa.uiowa.edu\shared\fm\Campus\PI

- Installer: AVEVA-Pi-DataLink_2023_SP1

PI Vision (web): https://pi-vision.facilities.uiowa.edu/PIVision/

- Currently available on the web to anyone with a HawkID.

- PI Web API:

- Base Url: https://pi-vision.facilities.uiowa.edu/piwebapi

- Documentation: PI Web API Reference

- How to lookup a tag: https://pi-vision.facilities.uiowa.edu/piwebapi/points?path=\\piserver.facilities.uiowa.edu\MY_TAG_NAME

  - When you look up a tag you will get some metadata (i.e. units, description, etc.) and some links to use for pulling data. InterpolatedData, RecordedData (Raw data), and SummaryData (Min/Max/Avg/etc.). Pass in additional parameters through the url to configure your data pull